## Sheet1
Waste Water Treatment Plant (WWTP) Utilization 2012 - 2016
Performance Indicator Description | Operational Performance
| Units | FY 2012 - 13 | FY 2013 - 14 | FY 2014 -3015 | FY 2015 - 2016
Average daily wastewater inflow to WWTP | m3 | 517 | 504 | 542
Wastewater Treatment Plan utilization | % | 41% | 50% | 54% | 66%
Percentage of effluent samples (complying with SPREP standards) | % | 100% | 100% | 96% | 100%
Source : Samoa Water Authority In Water and Sanitation Sector Plan 2016 - 2020